如何將植體資料庫匯入3Shape

How to load the Anker library into 3Shape

- 將資料庫下載後解壓縮

Load the library from Anker Website, and unzip the file

- 打開3Shape Dental System Control Panel

Click on 3Shape Dental System Control Panel.

- 點擊導入/導出功能

Click on Import/ Export

- 點擊導入材料

Click on Import Material.

5.  導入數據庫資料包並結束

Load the Library and finish.